## 13485
ISO 13485:2018 Management Self-Evaluation Checklist
Medical devices — Quality management systems — Strategic Leadership Assessment
Assessment Instructions:
Target Audience: Senior Management and Leadership Team
Completion Time: 20-25 minutes
Assessment Focus: Strategic leadership requirements for medical device QMS compliance
Scoring: C = Compliant, N = Non-Compliant, NA = Not Applicable
Scoring Framework:
95-100% = Excellent (Ready for certification)
85-94% = Good (Minor gaps to address)
75-84% = Moderate (Significant improvements needed)
65-74% = Poor (Major system overhaul required)
Below 65% = Critical (Complete system redesign necessary)
Assessment Detail | Ref | C | N | NA | Comment
4. Quality Management System
Has management documented and maintained a quality management system effective in accordance with standard and regulatory requirements? | 4.1.1
Are processes needed for the quality management system determined and applied throughout the organization? | 4.1.2
Is a risk-based approach applied to control of appropriate quality management system processes? | 4.1.2
Are changes to quality management system processes controlled with impact evaluation? | 4.1.4
Has management documented the role(s) undertaken by the organization under applicable regulatory requirements? | 4.1.1
Does quality management system documentation include quality policy, quality manual, and required procedures? | 4.2.1
Are medical device files established and maintained for each medical device type or family? | 4.2.3
Are documents controlled with procedures for review, approval, distribution, and change management? | 4.2.4
Are records controlled with procedures for identification, storage, security, retrieval, and retention? | 4.2.5
5. Management Responsibility
Does top management provide evidence of commitment through policy establishment and resource availability? | 5.1
Does top management communicate the importance of meeting customer and regulatory requirements? | 5.1
Has top management ensured customer requirements and regulatory requirements are determined and met? | 5.2
Is the quality policy appropriate to organizational purpose and include commitment to compliance? | 5.3
Is the quality policy documented, communicated, and reviewed for continuing suitability? | 5.3
Are quality objectives established at relevant functions and levels and are measurable? | 5.4.1
Is quality management system planning carried out to meet requirements and maintain integrity during changes? | 5.4.2
Are responsibilities and authorities defined, documented, and communicated within the organization? | 5.5.1
Has a management representative been appointed with defined responsibility and authority? | 5.5.2
Are management reviews conducted at documented planned intervals for continuing suitability and effectiveness? | 5.6.1
Do management review inputs include feedback, complaints, regulatory reporting, and improvement recommendations? | 5.6.2
Do management review outputs include decisions for improvement and resource needs? | 5.6.3
6. Resource Management
Are resources determined and provided for quality management system implementation and regulatory compliance? | 6.1
Is personnel competence determined for work affecting product quality based on education, training, and experience? | 6.2
Are processes documented for establishing competence, providing training, and ensuring awareness? | 6.2
Are infrastructure requirements documented to achieve product conformity and prevent product mix-up? | 6.3
Are work environment requirements documented when conditions can affect product quality? | 6.4.1
Are arrangements planned and documented for contamination control when appropriate? | 6.4.2
7. Product Realization
Is product realization planning consistent with other quality management system processes? | 7.1
Are risk management processes documented in product realization? | 7.1
Are customer requirements determined including regulatory requirements and user training needs? | 7.2.1
Are requirements related to product reviewed prior to commitment to supply product? | 7.2.2
Are communication arrangements planned and documented for product information and customer feedback? | 7.2.3
Are design and development procedures documented when design controls are applicable? | 7.3.1
Is design and development planning documented and maintained including stages, reviews, and responsibilities? | 7.3.2
Are design and development inputs determined and recorded including functional, performance, and safety requirements? | 7.3.3
Do design and development outputs meet input requirements and specify characteristics essential for safe use? | 7.3.4
Are design and development reviews, verification, and validation performed according to planned arrangements? | 7.3.5-7
Are purchasing processes documented to ensure purchased products conform to specified requirements? | 7.4.1
Are supplier evaluation criteria established based on ability to meet requirements and risk associated with medical device? | 7.4.1
Is production and service provision planned, carried out, monitored, and controlled? | 7.5.1
Are cleanliness requirements documented for products when appropriate? | 7.5.2
Are processes validated when output cannot be verified by subsequent monitoring or measurement? | 7.5.6
8. Measurement, Analysis and Improvement
Are monitoring, measurement, analysis, and improvement processes planned and implemented? | 8.1
Are feedback processes documented to gather information from production and post-production activities? | 8.2.1
Are complaint handling procedures documented for timely handling in accordance with regulatory requirements? | 8.2.2
Are procedures documented for reporting to regulatory authorities when required? | 8.2.3
Are internal audits conducted at planned intervals to determine quality management system conformity? | 8.2.4
Are processes and products monitored and measured to verify requirements have been met? | 8.2.5-6
Are nonconforming products identified and controlled to prevent unintended use or delivery? | 8.3.1
Are actions taken for nonconforming products including evaluation and disposition decisions? | 8.3.2-3
Are data analysis procedures documented to demonstrate system suitability, adequacy, and effectiveness? | 8.4
Are changes identified and implemented to ensure continued suitability, adequacy, and effectiveness? | 8.5.1
Are corrective action procedures documented to eliminate causes of nonconformities? | 8.5.2
Are preventive action procedures documented to eliminate causes of potential nonconformities? | 8.5.3
Assessment Summary
Total Questions: _____
Compliant (C): _____
Non-Compliant (N): _____
Not Applicable (NA): _____
Compliance Percentage: _____ %
Assessment Level: _____
Priority Action Areas
High Priority (Critical for Certification):
Medium Priority (Important for Effectiveness):
Low Priority (Enhancement Opportunities):
Management Review Actions
Immediate Actions Required:
Resource Allocation Needs:
Timeline for Compliance:
Next Review Date: _______________
Target Certification Date: _______________
Responsible Parties:
Overall QMS Leader: _______________
Regulatory Affairs Manager: _______________
Internal Audit Coordinator: _______________
Assessor Name: _________________ Date: _________ Signature: _________________