## 17025
ISO 17025:2017 Management Self-Evaluation Checklist
General Requirements for the Competence of Testing and Calibration Laboratories — Strategic Leadership Assessment
Assessment Instructions:
Target Audience: Senior Management and Leadership Team
Completion Time: 20-25 minutes
Assessment Focus: Strategic leadership requirements for laboratory competence
Scoring: C = Compliant, N = Non-Compliant, NA = Not Applicable
Scoring Framework:
95-100% = Excellent (Ready for accreditation)
85-94% = Good (Minor gaps to address)
75-84% = Moderate (Significant improvements needed)
65-74% = Poor (Major system overhaul required)
Below 65% = Critical (Complete system redesign necessary)
Assessment Detail | Ref | C | N | NA | Comment
4. General Requirements
Are laboratory activities undertaken impartially with structures and management safeguarding impartiality? | 4.1.1
Is laboratory management committed to impartiality? | 4.1.2
Does the laboratory identify risks to impartiality on an ongoing basis from activities and relationships? | 4.1.4
Can the laboratory demonstrate how it eliminates or minimizes risks to impartiality? | 4.1.5
Is the laboratory responsible for managing all information through legally enforceable commitments? | 4.2.1
Are personnel required to keep confidential all information obtained during laboratory activities? | 4.2.4
5. Structural Requirements
Is the laboratory a legal entity or defined part of a legal entity legally responsible for activities? | 5.1
Has the laboratory identified management with overall responsibility? | 5.2
Has the laboratory defined and documented the range of activities for which it conforms to this standard? | 5.3
Are laboratory activities carried out to meet standard, customer, regulatory, and recognition requirements? | 5.4
Has the laboratory defined organizational structure, responsibilities, and authorities? | 5.5
Does the laboratory have personnel with authority and resources for management system duties? | 5.6
Does management ensure communication regarding effectiveness and requirement importance? | 5.7
6. Resource Requirements
Are personnel competence requirements documented for each function influencing laboratory activities? | 6.2.2
Does the laboratory ensure personnel have competence to perform activities and evaluate deviations? | 6.2.3
Are procedures established for competence determination, selection, training, and authorization? | 6.2.5
Are personnel authorized to perform specific activities including method development and result reporting? | 6.2.6
Are facilities and environmental conditions suitable for laboratory activities? | 6.3.1
Are requirements for facilities and environmental conditions documented? | 6.3.2
Does the laboratory monitor, control, and record environmental conditions when influencing results? | 6.3.3
Does the laboratory have access to equipment required for correct performance of laboratory activities? | 6.4.1
Are procedures established for equipment handling, transport, storage, use, and maintenance? | 6.4.3
Does the laboratory verify equipment conforms to requirements before being placed into service? | 6.4.4
Is measuring equipment calibrated when accuracy affects validity or traceability is required? | 6.4.6
Has the laboratory established a calibration programme reviewed and adjusted as necessary? | 6.4.7
Is metrological traceability established and maintained through documented unbroken calibration chains? | 6.5.1
Are measurement results traceable to the International System of Units through appropriate means? | 6.5.2
Are externally provided products and services suitable and controlled appropriately? | 6.6.1
Are procedures established for external provider evaluation, selection, and performance monitoring? | 6.6.2
7. Process Requirements
Are procedures established for review of requests, tenders, and contracts? | 7.1.1
Does the laboratory ensure capability and resources are available to meet requirements? | 7.1.1
Are appropriate methods selected and communicated to customers? | 7.1.1
Does the laboratory use appropriate methods and procedures for all laboratory activities? | 7.2.1.1
Does the laboratory ensure it uses the latest valid version of methods? | 7.2.1.3
Does the laboratory verify it can properly perform methods before introduction? | 7.2.1.5
Are non-standard, laboratory-developed, and modified methods validated appropriately? | 7.2.2.1
Does the laboratory have sampling plans and methods when carrying out sampling? | 7.3.1
Are procedures established for handling of test or calibration items? | 7.4.1
Does the laboratory have a system for unambiguous identification of items? | 7.4.2
Do technical records contain sufficient information to enable repetition of activities? | 7.5.1
Does the laboratory identify contributions to measurement uncertainty? | 7.6.1
Does the laboratory evaluate measurement uncertainty for calibrations and testing? | 7.6.2-3
Does the laboratory have procedures for monitoring validity of results? | 7.7.1
Does the laboratory monitor performance by comparison with other laboratories? | 7.7.2
Are results reviewed and authorized prior to release? | 7.8.1.1
Do reports include all required information for interpretation of results? | 7.8.2.1
Does the laboratory have a documented process for receiving and handling complaints? | 7.9.1
Are procedures implemented when laboratory activities do not conform to requirements? | 7.10.1
Does the laboratory have access to data and information needed for laboratory activities? | 7.11.1
Are laboratory information management systems validated before introduction? | 7.11.2
8. Management System Requirements
Has the laboratory established and maintained a management system supporting consistent achievement? | 8.1.1
Are management system policies and objectives established and implemented at all levels? | 8.2.1
Do policies and objectives address competence, impartiality, and consistent operation? | 8.2.2
Does management provide evidence of commitment to development and continual improvement? | 8.2.3
Are documents controlled to ensure approval, review, distribution, and obsolete document prevention? | 8.3.2
Are records established and retained to demonstrate fulfillment of requirements? | 8.4.1
Are controls implemented for record identification, storage, protection, and disposal? | 8.4.2
Are risks and opportunities considered to achieve intended results and prevent undesired impacts? | 8.5.1
Are actions planned to address risks and opportunities with effectiveness evaluation? | 8.5.2
Are opportunities for improvement identified and selected with necessary actions implemented? | 8.6.1
Does the laboratory seek and analyze customer feedback for improvement? | 8.6.2
When nonconformities occur, does the laboratory react appropriately and implement corrective actions? | 8.7.1
Are corrective actions appropriate to the effects of nonconformities encountered? | 8.7.2
Are internal audits conducted at planned intervals to verify management system conformity? | 8.8.1
Is an audit programme established including frequency, methods, and responsibilities? | 8.8.2
Does management review the management system at planned intervals for continuing suitability? | 8.9.1
Do management review inputs include changes, objectives, policies, audits, and customer feedback? | 8.9.2
Do management review outputs include decisions for effectiveness and improvement? | 8.9.3
Assessment Summary
Total Questions: _____
Compliant (C): _____
Non-Compliant (N): _____
Not Applicable (NA): _____
Compliance Percentage: _____ %
Assessment Level: _____
Priority Action Areas
High Priority (Critical for Accreditation):
Medium Priority (Important for Effectiveness):
Low Priority (Enhancement Opportunities):
Management Review Actions
Immediate Actions Required:
Resource Allocation Needs:
Timeline for Compliance:
Next Review Date: _______________
Target Accreditation Date: _______________
Responsible Parties:
Laboratory Manager: _______________
Quality Manager: _______________
Technical Manager: _______________
Assessor Name: _________________ Date: _________ Signature: _________________